V1

V2

V3

V4

V5

V6

V7

V8

V9

380

-380

∆B0  (Hz)

V11

Supporting Information Figure S2: ROIheart as overlay on GRE image for three orthogonal views of all eleven volunteers

V10

Supporting Information Figure S1: Shows Figure 3 with unfiltered RR ∆B0 maps.

V1              V2             V3             V4               V5              V6            V7              V8               V9           V10            V11

transversal

sagittal

coronal

Supporting Information Figure S3: B1+ shimmed, motion-compensated, and cardiac binned fat-water images in the end-diastolic phase are shown for all eleven volunteers in 3 orthogonal views with BMI ranging from 19 to 34 kg/m². As can be clearly seen, the fat and water content could be robustly separated across different body geometries around the heart. Furthermore, signal voids caused by destructive B1+ interference in the heart could be avoided in all volunteers. Note that images were not corrected by receive profiles (B1-).

(A)

ECG signal (a.u)

time (s)

(B)

Supporting Information Figure S4: ECG curve of volunteer V6 with 80% trigger efficiency. (A) First 90 and 20 seconds and (B) interval from 330 to 420 seconds with zoom between 338 and 355 seconds with corresponding trigger points (red asterisk).

Supporting Information Figure S5: The FW phantom consists of a bowl filled with agarose containing three oil/agarose mixture tubes. To validate the fat-water separation and quantification the bowl-shape phantom (max. diameter = 20cm, height=10.0cm) was used, filled with water, 2% agaroses, 0,2% sodium chloride, 0.1% copper sulfate (which corresponds to σphantom=0.4 s/m, εr=80)  containing 3 tubes (diameter = 2cm , height = 8cm ) with different mass fractions of olive oil to water-agarose emulsion (26%/53%/100%). Subfigure (A) shows triple-echo GRE-RPE magnitude data, reconstructed water, fat and fat-fraction images of a coronal slice. Qualitatively fat and water content were separated. Subfigure (B) shows corresponding filtered line plots taken from positions indicated in the fat-fraction image with calculated mean FF of 17±6%, 32±5%, 92±6% for tube content of 26%,53%, and 100% fat mass.