Supporting Information Figure S5: Slices with sagittal orientations of flow measurement with VENC = 2.5 m/s and flow rate Q1. (A) magnitude maps, (B) velocity maps vz and velocity line plots (C) along stenosis averaged over two neighboring lines. Slices 38, 38, 102, 102 are displayed for SYNC-SPI, Cart RO∥, Cart RO⊥ and PC-UTE respectively.

Supporting Information Figure S6: 3D flow measurements in a stenotic flow phantom with VENC = 2.5 m/s and flow rate Q1 for Cart RO∥ and Cart RO⊥ with varying isotropic resolutions (0.6/1.6/1.8/2.3/2.7 mm), slices 20/6/6/5/4 are shown for Cart RO∥ and slices 19/8/7/6/5 for Cart RO⊥.

Supporting Information Figure S7: Velocity component vz of 3D flow measurements with Cart RO∥ and Cart RO⊥ (Supporting Information Figure S6) in a stenotic flow phantom with VENC = 2.5 m/s and flow rate Q1 for isotropic resolutions: 0.6/1.6/1.8/2.3/2.7 mm.

Supporting Information Figure S8: Mean velocity (A) and volumetric flow rate (B) of 3D flow measurement in a stenotic flow phantom with VENC = 2.5 m/s and flow rate Q1 obtained from cross-sectional areas at different positions in flow phantom: pipe inflow, outflow 1, stenosis, outflow 2.

Supporting Information Figure S9: (A) Magnitude maps of PC-UTE acquisition from flow measurement with VENC = 2.5 m/s and flow rate Q1. (B) Velocities vz along dashed white line in (A) for PC-UTE data reconstructed with: (i) nominal, (ii) GIRF-corrected trajectory and (iii) after background (b.g.) phase correction applied on (ii).

Supporting Information Table S1: Acquisition parameters of 3D flow measurements with constant flow rates Q1-Q3. Number of slices correspond to PE2-steps in Cartesian and SYNC-SPI and to base resolution in PC-UTE acquisition: 26, 60, 60, 256 slices for SYNC-SPI, Cart RO∥, Cart RO⊥ and PC-UTE respectively.

|  | Flow Sequence |  |  |  |
| --- | --- | --- | --- | --- |
| Parameters | SYNC-SPI | Cart RO∥ | Cart RO⊥ | PC-UTE |
| Acquisition time (min:sec) | 517:26 | 14:31 | 18:09 | 25:01 |
| Resolution ([mm]3) | 1.0x1.0x1.0 | 1.0x1.0x1.0 | 1.0x1.0x1.0 | 1.0x1.0x1.0 |
| FOVRO x FOVPE1x FOVPE2 ([mm]3) | 256x128x26 | 256x128x60 | 256x160x60 | 256x256x256 |
| Number of slices | 26 | 60 | 60 | 256 |
| Flow encoding | 3D | 3D | 3D | 3D |
| Pump setting (mL/s) | 40/30/20 | 40/30/20 | 40/30/20 | 40/30/20 |
| Velocity encoding (VENC) (m/s) | 2.5 | 2.5 | 2.5 | 2.5 |
| Echo time (TE) (ms) | 2.9 | 4.3 | 4.3 | 1.2 |
| Repetition time (TR) (ms) | 9.1 | 7.1 | 7.1 | 7.4 |
| Averages | 64* | 4 | 4 | - |
| Projections | - | - | - | 50000 |
| Nominal flip angle (°) | 12 | 12 | 12 | 12 |
| Bandwidth (Hz/Px) | 781 | 450 | 450 | 450 |
| Pulse duration (μs) | 800 | 800 | 800 | 500 |
| Pulse shape / BWTP** | SINC/10 | SINC/10 | SINC/10 | RECT/- |

* The SYNC-SPI sequence acquires each k-space position 64 times with a dwell time of 20µs.

** BWTP = Bandwidth-time-product

Supporting Information Table S2: Acquisition parameters of 3D flow measurements with constant flow rate Q1 for Cart RO∥ and Cart RO⊥ with varying isotropic resolutions (0.6/1.6/1.8/2.3/2.7 mm). Number of slices in Cartesian acquisitions: (40/14/14/12/10) for Cart RO∥ and (40/16/14/12/10) for Cart RO⊥, respectively to the resolution.

|  | Flow Sequence |  |
| --- | --- | --- |
| Parameters | Cart RO∥ | Cart RO⊥ |
| Isotropic resolution (mm) | 0.6/1.6/1.8/2.3/2.7 | 0.6/1.6/1.8/2.3/2.7 |
| Acquisition time (s) | 1187/120/105/68/48 | 1484/166/131/85/61 |
| FOVRO x FOVPE1x FOVPE2([mm]3) | 256x128x24/ 256x128x22/ 256x128x25/ 256x128x28/ 256x128x27 | 256x160x24/ 256x160x26/ 256x160x25/ 256x160x28/ 256x160x27 |
| Number slices | 40/14/14/12/10 | 40/16/14/12/10 |
| Readout amplitude (mT/m) | - | - |
| Echo time (TE) (ms) | 5.6/3.8/3.6/3.5/3.5 | 5.6/3.6/3.6/3.5/3.5 |
| Repetition time (TR) (ms) | 8.6/6.7/6.5/6.3/6.3 | 8.6/6.5/6.5/6.3/6.3 |
| Base resolution (number of pixels) | 432/160/144/112/96 | 432/160/144/112/96 |
| Flow encoding | 3D | 3D |
| Pump setting (mL/s) | 40 | 40 |
| Velocity encoding (VENC) (m/s) | 2.5 | 2.5 |
| Averages | 4 | 4 |
| Flip angle (°) | 12 | 12 |
| Bandwidth (Hz/Px) | 450 | 450 |
| Pulse duration (μs) | 800 | 800 |
| Pulse shape / BWTP** | SINC/10 | SINC/10 |

** BWTP = Bandwidth-time-product